Wayne State University

LABORATORY DECOMMISSIONING FORM

(This form is to be completed by WSU Office of Environmental Health & Safety personnel)

| Principal Investigator: |  | E-mail: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Department: |  | Room Number/Building: |  |  |  |  |  |  |
| Lab Phone: |  | Office Phone: |  |  |  |  |  |  |
| Inspection Dates |  |  | Initial: |  |  | Follow-up: |  |  |
| Check applicable box: |  |  | YES | NO | N/A | YES | NO | N/A |
| Radiation | Radiation Safety has surveyed and taken wipes to ensure areas are free of removable contamination. |  |  |  |  |  |  |  |
|  | Radioactive tape & labels removed |  |  |  |  |  |  |  |
|  | Proper removal and disposal of all radioactive materials |  |  |  |  |  |  |  |
|  | Door signage has been removed |  |  |  |  |  |  |  |
| Biological | All biohazards have been disposed of properly |  |  |  |  |  |  |  |
|  | Biosafety cabinet(s): decontaminated? |  |  |  |  |  |  |  |
|  | Proper removal or disposal of all biological materials |  |  |  |  |  |  |  |
|  | Door signage has been removed |  |  |  |  |  |  |  |
| Chemical | Chemical storage areas are clean, w/surfaces wiped down and free of chemicals |  |  |  |  |  |  |  |
|  | All compressed gas cylinders have been removed |  |  |  |  |  |  |  |
|  | Proper removal or disposal of all chemicals |  |  |  |  |  |  |  |
|  | Fume hood(s) are clean |  |  |  |  |  |  |  |
| General | Drawers and cabinets are emptied, cleaned, and wiped down |  |  |  |  |  |  |  |
|  | All special in-house equipment removed |  |  |  |  |  |  |  |
|  | Bench tops cleaned |  |  |  |  |  |  |  |
|  | General cleanliness & hygiene acceptable |  |  |  |  |  |  |  |
|  | Other/ Comments: |  |  |  |  |  |  |  |
| Decommission Approved By: Date: (OEHS Representative) |  |  |  |  |  |  |  |  |